# Bottom-line on Net Metering

Gary Greenwood

Net metering has been found valuable by a variety of studies by state Public Utility Commissions (PUCs) as well as academic studies.  Furthermore, rather than inhibiting netMetering installations, Virginia should be looking at ways to significantly expand residential and commercial rooftop solar beyond the current cap of 1% of Dominion generating capacity.  Finally, Dominion needs to be looking at new rate models to reflect the reality of stable electricity demand and growing renewable energy sources.

# Net Metering studies

There are many reasons that net metering (residential solar) installations are a net benefit to the citizens and ratepayers in Virginia.  Here are the most obvious ones:

- They provide electricity from non-polluting sources

- Homeowners generating their own electricity reduce demand for new electrical infrastructure.

- Can make a significant contribution to Virginia’s goal of reduced greenhouse gas emissions.

Multiple studies by state Public Utility Commissions concur that distributed solar generation is worth more than its retail price, with values ranging from 14 to 40 cents/kwh:

Vermont Public Service Department – 2013 study concluded that “net-metered systems do not impose a significant net cost to ratepayers who are not net-metering participants.”

Nevada PUC – 2014 (prior to the change in 2016) - confirmed that solar energy can provide cost savings for both solar and non-solar customers alike.

Mississippi Public Service Commision – 2014 – benefits of netMetering outweigh the costs in most scenarios

Minnesota PUC – 2014 Value of Solar methodology found the value of solar was 14.5 cents/kwh.

Maine PUC  - 2015 study found a value of $.33/kwh.

Missouri Energy Initiative 2015 study found netmetering to be a benefit for all customers.

Academic study by researchers from University of Albany, GWU, and Clean Power Research found that electricity from solar installations in New York is worth between 15 and 40 cents/kwh.

The studies above make a very strong case for allowing and expanding net metering.  However, they also touch on a larger issue, which is that most states and their associated electric utilities may need to modernize both their grid and their rate structure.  Updating the rate structure will allow the utilities to maintain a return on investment as generation becomes more distributed.  And grid modernization will allow the utilities to maintain reliability as the utilities evolve to accommodate and interact with hundreds of distributed energy resources.

# Net Metering in Virginia

According to Dominion’s 2017 IRP, there are 2,170 net metering agreements in place, with a generation capability of 17.4 MW.  Based on the generation reported by my 8kw solar array, the 2,170 net metered systems generate an estimated 18,107mwh or electricity, saving 13,472 metric tons of CO2 emissions.

Virgnia imposes some restrictions on residential net metering.  There is a maximum of 20kw of renewable electricity generation per customer, and also a requirement that the net metering customer will not be allowed to generate more than the previous 12 months of electricity that the metered facility used.

Finally, Dominion restricts the total amount of net metering generation to less than 1.0% of Dominion’s Virginia peak-load forecast for the previous year.  Per the 2017 IRP, Dominion projects about 20,000 MW summer peak load.  This would allow a maximum of 200 MW of netMetered power generation.  However, the PPA pilot program may use some of the 200MW allowance, under a 50 mW subcap under the overall net-metering cap of 1%.

# Conclusion

While one can be sympathetic with utilities’ desire to protect their rate of return to shareholders that they have always had, they really need to move forward to a more distributed generation network and compatible rate structure.

From Vox article: “utilities’ strong preference for capital investments puts them intrinsically at odds with smarter grids and privately owned DERs. Smarter grids and privately owned DERs have the effect of reducing demand for grid power and grid infrastructure — that’s good for customers, but it reduces utility shareholder profit.”

In other words, currently the interests of public utility shareholders are generally not aligned with the public interest.

In order to understand the defense of netMetering, the utility company business model, I relied primarily on these two sources:

Vox article by David Roberts discussing the financial structure of public electricity companies (https://www.vox.com/2016/6/29/12038074/power-utilities-suck)

Brookings Report specifically addressing netMetering benefits (https://www.brookings.edu/research/rooftop-solar-net-metering-is-a-net-benefit/)